SELF-CONSOLIDATING CORE-FILL GROUT – No. 1585

A portland cement based highly fluid grout specifically designed to fill masonry block cores without segregation

Other benefits & features include:

• Eliminates the need for vibrating.

• Can be placed in single lifts up to 12 ft. 8 in. high

• Contains 3/8 in. (9.5 mm) aggregate.

• For use when grout space is greater than 4 in. (100 mm) in both directions.

Complies with ASTM C-476 at 24-28 in. (600-700 mm) slump flow